RESEARCH PROTOCOL:

Assessment of ease of testing and reading of novel TB skin test (Cy-TBTM)                                among children

…………….

Department of Pediatrics

Protocol version 3.0

To                                                                                                                Date : 15.09.25

The Chairperson

RPAC

Hamdard Institute of Medical Sciences and Research

Jamia Hamdard

New Delhi

Sir/ma’am,

We are planning to conduct the study entitled “Assessment of ease of testing and reading of novel TB skin test (Cy-TBTM) among children”. Kindly review the attached proposal for due approval and forward transmission to the Institutional Ethics Committee for final clearance.

Thanking you

(Prof Varinder Singh)

Principal Investigator

Professor, Department of Pediatrics

HIMSR & HAHC, New Delhi

Enclosure:

Detailed protocol for Project entitled: Assessment of ease of testing and reading of novel TB skin test (Cy-TBTM) among children

Consent Form (Hindi and English)	-

Performa for data collection:	-

Protocol version 3.0

Protocol: Assessment of ease of testing and reading of novel TB skin test (Cy-TBTM) among children

| Principal Investigator | : | Prof Varinder Singh Senior Professor Department of Pediatrics |
| --- | --- | --- |
| Co-Principal Investigator | : | Prof Sangita Yadav Head of Department Department of Pediatrics |
| Co-Investigator | : | Dr Lucky Manik Assistant Professor Department of Pediatrics |

Venue of Study               :        Hamdard Institute of Medical Sciences & Research and

associated HAH Centenary Hospital, N Delhi.

Protocol version 3.0

INTRODUCTION

Tuberculosis (TB) is a communicable disease caused by the highly resilient bacterium Mycobacterium tuberculosis (Mtb), and remains a significant global public health challenge (1). Children represent a critical reservoir for Mycobacterium tuberculosis transmission, serving as a source from which future cases of tuberculosis may emerge (2). Tuberculosis Infection (TBI) denotes a latent immunological response to Mycobacterium tuberculosis antigens without overt disease, with a significant risk of reactivation in immunocompromised hosts. Precise detection and targeted management of TBI are pivotal for effective TB control, especially in high-burden settings like India (1). WHO’s End TB Strategy, aims to reduce TB-related mortality by 95% and new case incidence by 90% by 2035, necessitating significant improvements in diagnostic, preventive, and therapeutic services across all healthcare levels (3).

The Tuberculin Skin Test (TST) was one of the most widely employed diagnostic tools for the detection of Mycobacterium tuberculosis infection globally. Pediatricians often use this test as supportive evidence to clinically identify possible TB disease though the test has no capacity to differentiate between infection and disease (4). Developed in the 1940s, the assay involves the intradermal administration of purified protein derivative (PPD RT23), a heterogeneous preparation comprising multiple mycobacterial antigens. Owing to the non-specific nature of these antigens, the TST demonstrates limited specificity, with false-positive reactions frequently observed in individuals previously vaccinated with Bacille Calmette-Guérin (BCG) or in those harbouring infections caused by non-tuberculous mycobacteria (NTM) (5). However, shortages of standardised PPD RT23, the limited specificity of TST in bacille Calmette–Guérin (BCG)-vaccinated populations has stimulated interest in better methods to find TB infection.

Interferon-gamma release assays (IGRAs) are in vitro immunodiagnostic tests that measure the release of interferon-gamma from sensitized lymphocytes following stimulation with Mycobacterium tuberculosis-specific antigens. IGRA results are interpreted as positive, negative, or indeterminate/borderline, with a degree of variability noted—most prominently at the extremes of the quantitative response spectrum (6). However, their widespread

implementation is constrained by several limitations. Notably, IGRAs entail relatively high costs and require access to well-equipped laboratory facilities. Additionally, peripheral blood samples must be processed within 12 hours of collection; deviations in specimen handling, transportation, or assay execution may compromise the accuracy of results. Such technical challenges can yield non-diagnostic outcomes, thereby necessitating repeat testing (5).

In recent years, novel skin-based diagnostic assays have been developed that employ Mycobacterium tuberculosis -specific antigens, utilizing immunological principles analogous to those of interferon-gamma release assays (IGRAs). The antigenic targets like early secretory antigenic target-6 (ESAT-6), culture filtrate protein-10 (CFP-10), and TB7.7 - are expressed by M. tuberculosis and wild-type Mycobacterium bovis, but are absent in M. bovis bacille Calmette–Guérin (BCG) vaccine strains and in most non-tuberculous mycobacteria (NTM), with the exception of Mycobacterium kansasii, Mycobacterium szulgai, Mycobacterium leprae, and Mycobacterium marinum. This antigenic specificity confers a superior diagnostic specificity relative to the tuberculin skin test, particularly among BCG-vaccinated individuals and in low-incidence settings with high background NTM prevalence (4).

WHO recognizes new next-generation TBSTs as viable alternatives to the traditional tuberculin skin test (TST) and interferon-gamma release assays (IGRAs). Cy-TBTM)  skin test incorporates the Mycobacterium tuberculosis-specific antigens ESAT-6 and CFP-10—also utilized in IGRAs—and is administered and interpreted in a manner analogous to the TST by Mantoux’s test. Notably, Cy-TBTM)  employs a fixed 5-mm induration threshold to identify TB infection and maintains high specificity irrespective of Bacille Calmette–Guérin (BCG) vaccination status or HIV infection. By combining the operational simplicity and affordability of the TST with the enhanced specificity of the IGRA, Cy-TBTM)  represents a promising alternative for LTBI screening. In a phase 3, randomized, double-blind clinical trial published in 2017, the Cy-TBTM)  test demonstrated 94% concordance with IGRA results and produced induration sizes comparable to those observed with the TST (7).

Regulatory approvals from the Indian Council of Medical Research (ICMR) and the Central Drugs Standard Control Organisation (CDSCO) permit its use in individuals over one year of age.  It is also approved by WHO and EMA in Europe from 28 days and above population, with the trade name of SIILTIBCY (8).

Despite the demonstrated advantages of Cy-TBTM)  over conventional tests, one of the key areas requiring study in its field implementation is the potential variability in interpretation of skin test induration, particularly in pediatric populations where skin reactions may be subtle and subjective differences among observers can influence diagnostic outcomes. Given that accurate detection of TB infection forms the cornerstone of early intervention and prevention strategies, it is essential to systematically evaluate inter-observer variation and reliability in the interpretation of Cy-TBTM TM)  responses in children. This study, therefore, seeks to address this critical gap by assessing the ease of testing and consistency and accuracy of Cy-TBTM)  skin test reading and interpretation in the pediatric population, thereby generating evidence to guide its optimal application in high-burden setting.

Protocol version 3.0

Aim:

To assess ease of testing and reading of novel TB skin test (Cy-TBTM) among children

Primary Objective:

- To document the ease of testing and variability in interpreting the Cy-TBTM)TM skin test in the pediatric population

Secondary Objectives:

- To find the interobserver reliability in measurement of the induration after Cy-TBTM skin test administration among children

- To evaluate the feasibility and acceptability of Cy-TBTM skin test administration and interpretation in children, as perceived by healthcare providers and caregivers.

- To document and characterize adverse events, including local and systemic reactions, associated with Cy-TBTM testing in the paediatric population

Protocol version 3.0

METHODOLOGY

Study Design: Prospective, observational study

Study Setting: Hamdard Institute of Medical Science and Research and associated HAHC Hospital, a tertiary care centre and designated nodal site under the National Tuberculosis Elimination Program (NTEP) in New Delhi.

Study Duration: 18 months

Study Population: Children aged 6 months to 18 years who are suspected to have tuberculous infection or disease.

Inclusion Criteria:

Children aged 6 months to 18 years attending OPD/IPD at the study site and who fulfil any of the following conditions:

- Suspected tuberculosis cases presenting to the participating clinical facility, based on clinical evaluation and in accordance with standard diagnostic algorithms.

- Household contacts of microbiologically confirmed tuberculosis patients

Exclusion Criteria:

- Children with documented active tuberculosis.

- Known hypersensitivity to test components.

- Children on immunosuppressive therapy (e.g., corticosteroids, chemotherapy) or with known primary immunodeficiency

- Current skin condition which interferes with the reading of the Cy-TBTM e.g. tattoos, severe scarring, burns/sunburns, rash, eczema, psoriasis, or any other skin disease at or near the injection sites

- Active disease affecting the lymphoid organs (e.g., Hodgkin’s disease, lymphoma, leukaemia, sarcoidosis)

Protocol version 3.0

Study Procedure:

1. Participant Identification and RecruitmTM)ent

- Eligible participants will be identified through two sources:
a) Outpatient and inpatient pediatric services for suspected TB cases.
b) Household contact of microbiologically confirmed TB.

- A screening log will be maintained to document all potentially eligible participants and reasons for exclusion, if applicable.

2. Informed Consent and Assent

- Written informed consent will be obtained from the parents or legal guardians of all participants.

- Assent will be obtained from children aged ≥7 years, in accordance with national ethical guidelines.

- The consent process will include an explanation of the study objectives, procedures, potential risks, and benefits.

3. Administration of Cy-TBTM Skin Test

- The Cy-TBTM test will be administered intradermally on the volar aspect of the forearm, using a 1ml syringe and 26/ 27-gauge needle, according to the product insert and standardized protocols by 1 or 2 experienced testers.

- A fixed dose of 0.1 mL will be injected to produce a discrete, visible wheal (6–10 mm in diameter).

- The site of injection will be marked with a non-permanent skin marker, and the exact time of administration will be recorded in the case record form (CRF).

- Only trained healthcare professional with prior experience in tuberculin-type skin testing will perform all test administrations to maintain procedural consistency.

4. Reading of Test Results

- The test site will be examined at 48–72 hours post-administration.

- Induration will be measured in millimetres using a transparent, rigid ruler with 1-mm calibration, applying gentle pressure to delineate the margins.

- Multiple independent readers (Resident doctors of the hospital who are involved in reading routinely) will perform the readings.

- Expert/Master readers will be 2 experienced faculties from department :

a)Professor Varinder Singh    b) Dr. Lucky Manik (Assistant Professor)

- There readings shall be compared against the expert reading by one of the two master readers (at least 2 years of experience in reading TST induration) The observer and expert readings shall be done with in 1 hour of each other. TM)

- Observers will be blinded to each other’s measurements and to participant clinical history wherever feasible.

- The final recorded value for each observer will be entered into data sheets by the expert reader to avoid any cross-influence of readings.

- Anonymised Digital images of the test site while measuring the size of induration using a scale will be acquired for records and any future use.

5. Assessment of Ease, Feasibility, and Acceptability

- Immediately after administration, both observers will rate the ease of Cy-TBTM administration using a semi-qualitative scale (e.g., Very Easy, Easy, Moderate, Difficult, Very Difficult), considering factors such as participant cooperation, injection site wheal size, reaction, and technical challenges.

- After reading, observers will also rate the ease of interpretation using a similar scalar tool.

- Caregivers will be interviewed using a brief structured questionnaire to assess acceptability, including willingness for repeat testing and perceived discomfort for the child.

- Healthcare providers will provide feedback on operational feasibility, including time taken for administration and reading, and logistical constraints.

6. Adverse Event Monitoring

- Participants will be asked any adverse events, both local (e.g., pain, redness, swelling, ulceration) and systemic (e.g., fever, allergic reaction), until resolution or up to 2 days post-test.

Sponsors: The study shall be institutionally supported and the Test assay has been provided free of cost for academic research by the manufacturer (M/s Serum Institute of India, Pune).

Sample size:

The sample size for this study is based on evaluating interobserver agreement in the interpretation of Cy-TBTM)  skin test results in the paediatric population by two independent observers. A previous study has reported interobserver agreement ranging from 0.52 to 0.75 [9]. For the present calculation, a moderate agreement level of 0.70 was assumed. Allowing a margin of error of 5% and setting the significance level at 5%, the minimum required sample size was estimated to be 784 participants.

For estimation of sample size, the following formula has been used

Statistical Methods

Statistical analysis will be performed using appropriate statistical software. Continuous variables will be presented as mean ± SD or median (IQR) for non-normally distributed data, while categorical variables will be expressed as frequencies and percentages.

To assess interobserver reliability, the Intraclass correlation coefficient (ICC) will be calculated for continuous measurements of induration size. The interobserver agreement for Cy-TBTMTM)  skin test readings in the paediatric population will be assessed using the Cohen’s kappa statistic, with corresponding 95% confidence intervals. The ease of Cy-TBTMTM)  test administration will be summarised using descriptive statistics for the standardised qualitative rating scale, and group comparisons, if applicable, will be performed using the chi-square test or Fisher’s exact test for categorical variables and the independent-samples t-test or Mann–Whitney U test for continuous variables.

The prevalence of positive Cy-TBTMTM)  results among paediatric household contacts of microbiologically confirmed tuberculosis cases will be calculated with 95% confidence intervals. Adverse events, including local and systemic reactions, will be documented, categorised by severity, and summarised as frequencies and percentages.

- p-value less than 0.05 will be considered statistically significant.

Ethical Considerations:

- Ethical clearance will be obtained from the Institutional Ethics Committee prior to study initiation.

- Written informed consent and assent (where applicable) will be obtained.

- Confidentiality and data privacy will be maintained throughout the study.

Protocol version 3.0

Informed Consent Form (For Parents/Guardians)

Study Title:
Assessment of ease and variability in interpreting the Cy-TB™ skin test in children

Institution:
Hamdard Institute of Medical Science and Research and HAHC Hospital, New Delhi

Principal Investigator/ Investigators:
Dr Varinder Singh

Dr Lucky Manik          8826971684

Department of Pediatrics, HIMSR

Consent Form for Parents/Guardians

Dear Parent/Guardian,

We are conducting a research study to assess the ease and reliability of a new tuberculosis (TB) skin test (Cy-TB™) in children. Your child is being invited to participate because he/she may be suspected to have TB infection or is a household contact of a person with TB.

Before you decide, please read the information carefully. You may ask questions at any time.

What will happen if my child takes part?

- A small injection (like a TB skin test) will be given on the arm.

- After 48-72 hours, the swelling (if any) at the injection site will be measured by trained doctors and a photograph will be taken.

- Doctors will also record their experience of giving and reading the test.

- You will be asked about your opinion of the test (comfort, willingness for future tests).

- Any local or general reactions will be checked and treated if needed.

- Risks and Benefits

- Risks: Minimal – pain, redness, swelling, itching, or rarely allergic reaction.

- Benefits: Your child may benefit from better diagnosis of TB infection. This study will also help improve TB detection in children.

- Confidentiality

- All information will be kept strictly confidential. Your child’s name will not appear in any report or publication.

Voluntary Participation

- Participation is completely voluntary. You can withdraw your child at any time without affecting his/her medical care.

Consent Statement

- I have read/understood the above information. I had the opportunity to ask questions, and they were answered satisfactorily. I consent for my child (Child’s Name: __________________________) to participate in this study.

Parent/Guardian’s Name: __________________  Contact Number _______________
Signature/Thumb impression: _______________

Date: __________________________________

Investigator’s Signature & Date: ____________________________

Witness’s Signature _____________________________________

सहमति पत्र (अभिभावक/संरक्षक हेतु)

अध्ययन का शीर्षक:
बच्चों में Cy-TB™ स्किन टेस्ट की सरलता और परिणामों में अंतर का मूल्यांकन

संस्थान:
हामदार्द इंस्टीट्यूट ऑफ मेडिकल साइंस एंड रिसर्च एवं सम्बद्ध HAHC अस्पताल, नई दिल्ली

मुख्य अन्वेषक:
डा. वरिंदर सिंह

डॉ लकी  माणिक  8826971684

बाल रोग विभाग

प्रिय अभिभावक/संरक्षक,

आपके बच्चे को इस शोध अध्ययन में भाग लेने के लिए आमंत्रित किया जा रहा है। इस अध्ययन का उद्देश्य बच्चों में नये टीबी स्किन टेस्ट (Cy-TB™) की सरलता तथा इसके परिणामों की विश्वसनीयता को परखना है। कृपया नीचे दी गई जानकारी ध्यानपूर्वक पढ़ें और समझें। यदि कोई प्रश्न हो तो आप बेझिझक पूछ सकते हैं।

अगर मेरा बच्चा इस अध्ययन में शामिल होता है तो क्या होगा?

- आपके बच्चे की बाँह पर एक छोटा इंजेक्शन (0.1 मि.ली.) दिया जाएगा, जिससे त्वचा पर हल्की सी उभरन  होगी।

- 48–72 घंटे बाद डॉक्टर उस स्थान को देखेंगे और सूजन (अगर हो) को स्केल से नापेंगे। हम टेस्ट की फोटो भी लेंगे जिसे  हम आगे  किसी रिसर्च में भी अज्ञात रूप में इस्तेमाल करेंगे।

- दो अलग-अलग डॉक्टर नाप करेंगे और उनके परिणामों की तुलना की जाएगी।

- आपके अनुभव और सुविधा के बारे में आपसे एक छोटा प्रश्नावली भरा जाएगा।

- किसी भी प्रकार के साइड इफेक्ट की जाँच की जाएगी और ज़रूरत पड़ने पर इलाज भी किया जाएगा।

संभावित लाभ

- यह टेस्ट आपके बच्चे में टीबी इंफेक्शन का पता लगाने में मदद कर सकता है।

- यह शोध भविष्य में बच्चों में टीबी की जाँच को और बेहतर बनाने में सहायक होगा।

संभावित खतरे

- इंजेक्शन वाली जगह पर हल्का दर्द, लालिमा, खुजली या सूजन हो सकती है।

- बहुत कम मामलों में एलर्जिक रिएक्शन हो सकता है।

गोपनीयता

आपके बच्चे की पहचान और व्यक्तिगत जानकारी पूरी तरह गोपनीय रखी जाएगी। किसी भी रिपोर्ट या प्रकाशन में उसका नाम नहीं लिखा जाएगा।

स्वैच्छिक भागीदारी

- यह अध्ययन पूरी तरह स्वैच्छिक है।

- यदि आप चाहें तो अपने बच्चे को शामिल न करें या बीच में ही वापस ले सकते हैं।

- ऐसा करने से आपके बच्चे की चिकित्सा देखभाल पर कोई असर नहीं पड़ेगा।

सहमति घोषणा

मैंने उपरोक्त जानकारी पढ़ ली है/मुझे समझा दी गई है। मेरे सभी प्रश्नों के उत्तर दिए गए हैं और मैं संतुष्ट हूँ। मैं स्वेच्छा से अपने बच्चे को इस अध्ययन में शामिल करने के लिए सहमति देता/देती हूँ।

बच्चे का नाम: __________________________________

अभिभावक/संरक्षक का नाम: ________________________

हस्ताक्षर/अंगूठे का निशान: _________________________

दिनांक: ______________________________________

अन्वेषक का नाम एवं हस्ताक्षर: ____________________

गवाह का नाम व हस्ताक्षर ____________________

____________________

Assent Form (for children ≥7 years)

Hello!

We are doing a study to see how well a new TB skin test (called Cy-TB™) works in children.

If you agree to join:

- You will get a very small injection on your arm (like a tiny pinch).

- After 2–3 days, doctors will look at your arm and measure the bump with a ruler.

- We may take a photo of your arm (without showing your face).

- We will also ask how you felt about the test.

Will it hurt?
The test feels like a small prick. Your arm may be red, itchy, or a little sore for a short time.

Do I have to do this?
No. This is your choice. If you say no, nobody will be upset. You can also stop at any time.

Will this help me?
It may help doctors know if you have TB infection. It will also help other children in the future.

If you want to join, please sign below.

I want to be in this study:
Child’s Name: __________________
Signature: _____________________
Date: _________________________

बच्चों के लिए सहमति पत्र (आयु 7–18 वर्ष)

नमस्ते!

हम एक अध्ययन कर रहे हैं जिसमें बच्चों में नये टीबी स्किन टेस्ट (Cy-TB™) की जांच की जाएगी।

अगर आप इसमें शामिल होना चाहें तो:

- आपके हाथ पर एक बहुत छोटा इंजेक्शन लगेगा (जैसे हल्की सी चुभन)।

- 2–3 दिन बाद डॉक्टर आपके हाथ पर हुई सूजन को देखेंगे और स्केल से नापेंगे।

- आपके हाथ की एक फोटो भी ली जा सकती है (चेहरा नहीं दिखेगा)।

- आपसे पूछा जाएगा कि आपको टेस्ट कैसा लगा।

क्या इसमें दर्द होगा?
थोड़ी चुभन होगी। हाथ पर थोड़ी लालिमा, खुजली या हल्की तकलीफ हो सकती है।

क्या मुझे करना ज़रूरी है?
नहीं। यह पूरी तरह आपकी मर्ज़ी है। अगर आप “ना” कहें तो कोई बुरा नहीं मानेगा। आप बीच में भी रुक सकते हैं।

क्या इससे मुझे फायदा होगा?
हो सकता है इससे डॉक्टर को पता चले कि आपको टीबी का इंफेक्शन है या नहीं। इससे दूसरे बच्चों की भी मदद होगी।

अगर आप शामिल होना चाहें तो नीचे हस्ताक्षर करें।

मैं इस अध्ययन में शामिल होना चाहता/चाहती हूँ:
बच्चे का नाम: __________________
हस्ताक्षर: ______________________
दिनांक: _______________________

Patient Information Sheet

Study Title: Assessment of ease and variability in interpreting the Cy-TB™ skin test in children

Dear Parent/Guardian,

Your child is being invited to participate in a research study. Please read the following carefully:

Why is this study being done?

- TB remains a serious health problem in India.

- The new Cy-TB™ skin test may help detect TB infection more accurately in children.

- We are studying how easy it is to perform and interpret this test in children.

What will happen if my child joins?

- A small injection will be given on the forearm.

- After 48–72 hours, the site will be checked and measured, a photograph will be taken.

- Doctors will compare their readings for accuracy.

- Side effects (if any) will be recorded and treated.

- Caregivers will be asked a few questions about their experience.

Possible risks:
Mild pain, redness, swelling, itching, or rarely allergic reaction.

Possible benefits:
Better diagnosis of TB infection for your child and future improvement in TB care for children.

Confidentiality:
Your child’s personal details will not be shared. Data will be coded and used only for research.

Voluntary participation:
You can refuse or withdraw at any time without affecting your child’s medical care.

For queries, please contact:
Dr. Varinder Singh

Dr Lucky Manik, Department of Pediatrics, [8826971684; pedsdepartmentHIMSR@gmail.com

रोगी सूचना पत्र

अध्ययन का शीर्षक: बच्चों में Cy-TB™ स्किन टेस्ट की सरलता और परिणामों के अंतर का मूल्यांकन

प्रिय अभिभावक,

आपके बच्चे को इस शोध अध्ययन में शामिल होने के लिए आमंत्रित किया जा रहा है। कृपया नीचे दी गई जानकारी ध्यान से पढ़ें:

यह अध्ययन क्यों किया जा रहा है?

- टीबी भारत में एक बड़ी स्वास्थ्य समस्या है।

- नया Cy-TB™ स्किन टेस्ट बच्चों में टीबी इंफेक्शन को अधिक सटीक रूप से पहचानने में मदद कर सकता है।

- हम देखना चाहते हैं कि यह टेस्ट बच्चों में करना और पढ़ना कितना आसान है।

अगर मेरा बच्चा शामिल होता है तो क्या होगा?

- बच्चे की बाँह पर एक छोटा इंजेक्शन दिया जाएगा।

- 48–72 घंटे बाद इंजेक्शन की जगह की जाँच और नाप की जाएगी, फोटोग्राफ ली जाएगी।

- डॉक्टर अलग-अलग पढ़ाई करेंगे और उनकी तुलना की जाएगी।

- किसी भी साइड इफेक्ट को दर्ज और ज़रूरत पड़ने पर इलाज किया जाएगा।

- आपसे कुछ सवाल पूछे जाएंगे कि आपको टेस्ट कैसा लगा।

संभावित खतरे:
हल्का दर्द, लालिमा, सूजन, खुजली, या कभी-कभी एलर्जिक रिएक्शन।

संभावित लाभ:
आपके बच्चे के लिए टीबी का बेहतर निदान और भविष्य में अन्य बच्चों की देखभाल में सुधार।

गोपनीयता:
आपके बच्चे की निजी जानकारी साझा नहीं की जाएगी। सभी डेटा गुप्त रखा जाएगा और केवल शोध हेतु उपयोग होगा।

स्वैच्छिक भागीदारी:
यह पूरी तरह आपकी मर्ज़ी है। आप किसी भी समय मना कर सकते हैं या बीच में छोड़ सकते हैं। इससे आपके बच्चे की चिकित्सकीय देखभाल पर कोई असर नहीं होगा।

प्रश्नों के लिए संपर्क करें:
डा. वरिंदर सिंह

डॉ लकी  माणिक  8826971684

बाल रोग विभाग,  pedsdepartmentHIMSR@gmail.com

REFERENCES

- Hashim Z, Tyagi R, Singh GV, Nath A, Kant S. Preventive treatment for latent tuberculosis from Indian perspective. Lung India. 2024;41(1):47-54.

- Mane SS, Shrotriya P. Current epidemiology of pediatric tuberculosis. Indian J Pediatr. 2024;91(7):711-6.

- Chauhan A, Parmar M, Dash GC, Solanki H, Chauhan S, Sharma J, et al. The prevalence of tuberculosis infection in India: a systematic review and meta-analysis. Indian J Med Res. 2023;157(2-3):135-51.

- Muniyandi M, Padmapriyadarsini C, Karikalan, Singh PK, Patel K, Rajsekar K, Tyagi K. Assessing the cost-effectiveness of Latent TB Infection Tests (LTBI) in India. Chennai: Regional Resource Centre for HTAIn, ICMR-National Institute for Research in Tuberculosis (NIRT); 2023 Feb.

- To KW, Zhang R, Lee SS. Is the new tuberculous antigen-based skin test ready for use as an alternative to tuberculin skin test/interferon-gamma release assay for tuberculous diagnosis? A narrative review. Int J Infect Dis. 2024;141 Suppl:106992.

- Saha S, Kumar A, Saurabh K, Shankar SH, Kashyap A, Nischal N, et al. Current status of treatment of latent tuberculosis infection in India. Indian J Med Sci. 2019;71(2):54-9.

- Muniyandi M, Nagarajan K, Mathiyazhagan K, Tyagi K, Rajsekar K, Padmapriyadarsini C. Evaluating the cost-effectiveness of Cy-TBTM  for LTBI in India: a comprehensive economic modelling analysis. Int Health. 2025;17(3). [Epub ahead of print].

- Bagcchi S. Novel and inexpensive skin test to detect tuberculosis. Lancet Infect Dis. 2025;25(1):e18.

- Goel D, Mantan M, Sethi GR. Mantoux test revisited: variability in reading tuberculin test in pediatric population. J Infect Dev Ctries. 2018;12(8):625-30.